## telnet-info - 副本
顺序 | 命令号 | 命令 | 当前参数 | 说明 |  |  | 数据项 | 乾程数据
1 | 0 | init dev, but not init ms infor
2 | 1 | init dev
3 | 2 | set server ip | 192.168.001.210 | 输入、确认 |  |  | 主站IP | 172.17.17.57
4 | 3 | set server port | 4000 | 输入、确认 |  |  | 主站端口 | 5060
5 | 6 | set server apn | XNGDGS | 输入、确认 |  |  | APN | fjep.fj
6 | 7 | set jzq dev id | 37020002 | 确认、输入、确认 |  |  | 终端地址 | 条码去掉校验位后的最后12位 | 需要进行10进制与16进制的转换
7 | 8 | set DEBUG com mode | UP COMM mode | 输入、确认 |  | 1\2
8 | 9 | cosole com as up com | 9600\8\e | 输入、确认 |  | 9600-8-e
9 | 10 | set gprs apn username | card | 输入、确认 |  |  | APN用户名 | A为设备编号即资产号后12位
10 | 11 | set gprs apn password | card | 输入、确认 |  |  | APN密码 | APN初始密码为A的逆序
11 | 12 | set net server mode | use gprs server params(afn04 F3) | 输入、确认 |  | 1\2
12 | 13 | set net server ip | 000.000.000.000 | 输入、确认
13 | 14 | set net server tcp port | 0 | 输入、确认
14 | 15 | set net server udp port | 0 | 输入、确认
15 | 18 | set dmconfig setting | 1 | 输入、确认 |  | 0\1
16 | 20 | reset AC sampling meter |  | 确认 |  |  |  | 清交采
17 | 21 | reset AC sampling meter parameter area |  | 确认
18 | 22 | reset AC sampling meter data area |  | 确认
19 | 23 | config the 485_2 com mode | read ex_485 mode[cascade mastermode] | 输入 |  | 1\2\3\4
20 | 25 | set router work type | 1 | 输入、确认 |  | 1\2\3
21 | 27 | the 485_2 as ac/up com baud | 2400\e | 输入
22 | 30 | current modem type | GB3763 | ---
23 | 31 | set UDP TCP type | current type is TCP, | 确认、输入、确认 |  | 1\2
24 | 32 | set gprs server mode | current type is client mode, | 确认、输入、确认 |  | 1\2
25 | 33 | set gprs send delay sec | current gprs send delay sec 2 | 输入、确认 | 特殊提示信息
26 | 40 | set terminal IP | 192.168.001.096 | 输入、确认
27 | 41 | set terminal subnet mask | 255.255.000.000 | 输入、确认
28 | 48 | meter alarm report switch | close . | 输入 |  | 1\2
29 | 49 | set record print info to file switch | close . | 输入 |  | 1\2\3\4\5
30 | 50 | set vendor code | uC | 输入、确认 |  | ???
31 | 70 | set auto search meter minutes | 0 | 输入、确认
32 | 72 | set auto delete meter days | 0 | 输入、确认
33 | 88 | list jzq param info
34 | 90 | init IP port to eastsoft
35 | 98 | exit without reset
36 | 99 | exit and reset

## Sheet1
1 | 0 | init dev, but not init ms infor
2 | 1 | init dev
3 | 2 | set wireless server ip | 129.001.012.012
4 | 3 | set wireless server port | 1111
5 | 4 | set wireless back_server ip | 101.101.101.101
6 | 5 | set wireless back_server port | 1234
7 | 6 | set wireless server apn | aaaa
8 | 7 | set jzq dev id | 37020001
9 | 8 | set DEBUG com mode | UP_COMM mode
10 | 9 | cosole com as up com | 9600
11 | 10 | set gprs apn username | cccc
12 | 11 | set gprs apn password | 12345
13 | 12 | set gprs_heart_beat | 0
14 | 13 | set net server ip | 129.001.022.022
15 | 14 | set net server tcp port | 1232
16 | 19 | set AC addr(BCD) | 123
17 | 20 | reset AC sampling meter
18 | 21 | reset AC sampling meter parameter area
19 | 22 | reset AC sampling meter data area
20 | 23 | config the 485_2 com mode | stop use
21 | 27 | the 485_2 as ac/up com baud = 4800 | e
22 | 30 | current modem type | GB3763
23 | 33 | set gprs send delay sec | 3
24 | 40 | set terminal IP | 192.168.001.096
25 | 41 | set terminal subnet mask | 255.255.000.000
26 | 49 | set record print info to file switch | open
27 | 50 | set vendor code | ES
28 | 88 | list jzq param info
29 | 98 | exit without reset
30 | 99 | exit and reset